Various Safety Devices on Boilers:

- Drum & Superheater Safety Valves

- Low & Low-Low Water-level Trips

- High-High Water-level Trip

- Steam Drum High Pressure Leading to Activation of Steam Dumping System

  - Sequential activation of small dumping system activation followed by large dumping system activation if the high pressure condition persists.

- Forced Draft Fan Failure triggering Boiler Trip

- Fuel Emergency Shut-off Valve

- Superheater temperature protection device