When raising pressure the starting valve (Superheater Vent) should be operated (throttled) so that combustion rate will follow the pressure raising curve.