Pre-checks for Steam-Air Heater

- Check whether the supply for steam air heater is correct.

- Make sure to drain the trap operation and avoid water hammer by drain.