Pre-checks for Economizer

- Be sure the economizer is full of water. While filling the boiler with water open the vent and bleed off all air. Then close the valve when water appears.