Important Parameters

to check during

Watch-keeping

| Parameters | Remarks |
| --- | --- |
| - Condenser Vacuum | One Turbo Gen-set |
| - Condenser SW Inlet-Outlet Temp | Two Turbo Gen-set |
| - Firing mode gas/ fuel oil | Two Turbo Gen-set |
| - Smoke indicator/ O2 percent | Two Turbo Gen-set |
| - Boiler water level |  |
| - Steam pressure & temp at - Superheater outlet - De-superheater outlet |  |
| - LO Gravity Tank overflow, LO pressure & temperature |  |
| - Propeller RPM |  |
| - Abnormal noise/ vibration |  |