**General surgical pack include the following:**

**Note all have been sterilized and ready for use:**

16 Towel forceps

4 Curved mosquito hemostats

4 Straight mosquito hemostats

2 Curved Kelly/Crile hemostatic forceps

2 Straight Kelly/Crile hemostatic forceps

2 Allis tissue forceps

1 Curved Mayo scissors

1 Straight Mayo scissors

1 S/S operating scissors (sharp/sharp)

1 Curved Metzenbaum scissors

1 Straight Metzenbaum scissors

2 Needle holders (1 Mayo-Hegar or Olsen-Hegar)

2 Right-angle forceps

1 Curved 6″ Ochsner forceps

1 Straight 6″ Ochsner forceps

1 No. 3 scalpel handle

1 No. 4 scalpel handle

3 3″ × 4″ thumb tissue forceps

2 1″ × 2″ Adson tissue forceps

1 Sponge forceps (curved or straight)

Malleable retractor

 Gauze (**may or may not present in pack but sterilized separately)**

4 Drapes

**Not in the pack**

Videoendoscope

Suture materials: (2-0 nonabsorbable monofilament suture material, 2-0 nonabsorbable suture material, No. 5 Ticron)

Staples (may or may not use)