**Surgical instruments**

|  |  |  |
| --- | --- | --- |
| **Instrument** | **Reason for Use** | **Picture** |
| Scalpel Handle Number 3 | Used to hold scalpel for more control |  |
| Scalpel Blade Number 10 | Used for regular incision and excision of tissues | C:\Users\Gavin Hall\Downloads\scalpel 10.jpg |
| Adson Forceps | Has two fine teeth on the inner portion of the opposing tips that interlock. Used to hold tissue | Image result for Rat toothed  forceps definition |
| Mayo Scissors | Used for sharp dissection of heavy tissue | C:\Users\Gavin Hall\Downloads\WhatsApp Image 2018-10-14 at 6.26.37 PM.jpeg |
| Bandage Scissors | Used to cut bandages and gauze | C:\Users\Gavin Hall\Downloads\WhatsApp Image 2018-10-14 at 6.26.36 PM.jpeg |
| Dressing Scissors | Used to cut suture and materials | C:\Users\Gavin Hall\Downloads\WhatsApp Image 2018-10-14 at 6.26.38 PM.jpeg |
| Mayo Hegar Needle Holder | Used to grasp and manipulate curved needles | C:\Users\Gavin Hall\Downloads\WhatsApp Image 2018-10-14 at 6.26.37 PM (1).jpeg |
| Backhaus Towel Clamp | Used to fix drapes to the skin of anaesthetised patients | C:\Users\Gavin Hall\Downloads\WhatsApp Image 2018-10-14 at 6.29.16 PM.jpeg |
| Drape | Used to cover the patient so that the surgical site can be isolated | C:\Users\Gavin Hall\Downloads\drape.jpg |
| Polysorb 0 Material | Absorbable material used for soft tissue approximation | ../Desktop/WhatsApp%20Image%202018-11-04%20at%2011.44.55%20AM.jpeg |
| Prolene 2-0 | Non absorbable, Used for skin closure  | ../Desktop/WhatsApp%20Image%202018-11-04%20at%2011.44.56%20AM.jpeg |