Equipment Table – Intestinal Surgery

|  |  |
| --- | --- |
| **Scalpel Blade + Handle** | * No. 3 + No. 4 Handle * 20 – 23 size blades (for handle 4) |
| **Doyen Clamps** | * Atraumatic * Used to clamp intestinal tissue |

|  |  |
| --- | --- |
|  |  |
| **Mayo Hegar Needle Holder** | * Holds needle used for sutures |
| **Metzenbaum Scissors** | * Used for cutting the delicate intestinal tissues and structures. |

|  |  |
| --- | --- |
|  |  |
| **Debakey Tissue Forceps** | * Atraumatic forcep |

|  |  |
| --- | --- |
|  |  |
| **Surgical drapes** | * Keeps surgical site/area sterile. |

|  |  |
| --- | --- |
| **Profix Rectal Rings** | * Profix Rectal Rings are used to repair rectal prolapses in calves, sheep, goats and pigs. * To use, insert the tube into the rectum and tie off the prolapse next to the body using an elastrator or castration band or umbilical tape. * The prolapsed section should slough off in four to five days. |
| **Towel Clamps** | * Used to secure drapes to ensure they do not move during surgical procedures |
| **Elastrator tool + bands** | * Used in rectal prolapse procedures * Placed around the rectal rings to assist in amputation of the required intestinal tissue to slated to be amputated. |
| **Laparotomy Sponges**  **Amazon.com: Dukal Case of 200 Surgical Laparotomy Sponges 8&quot; x 36&quot;. Sterile  X-Ray Detectable Cotton. Prewashed 100% Cotton Pads. CSR Wrap. Latex-Free.  Highly Absorbent Lap Sponges. : Industrial &amp; Scientific** | * Used for abdominal and thoracic surgery or in deep wounds to absorb fluids but can also be used to wall off surgical site. |